## Tank Master
SAPID(Location code) | Location | Tank ID | Tank Type | Product | LEVEL SWITCH | LEVEL SWITCH Normal Value | RADAR HHH | RADAR HHH Normal Value | ROSOV OPEN STATUS IL | ROSOV OPEN STATUS IL Normal Value | ROSOV OPEN STATUS OL | ROSOV OPEN STATUS OL Normal Value | ROSOV CLOSE STATUS IL | ROSOV CLOSE STATUS IL Normal Value | ROSOV CLOSE STATUS OL | ROSOV CLOSE STATUS OL Normal Value | MOV CLOSE STATUS IL | MOV STATUS IL Normal Value | MOV CLOSE STATUS OL | MOV STATUS OL Normal Value | RIMSEAL FIRE ALARM | RIMSEAL FIRE ALARM Normal Value | RIMSEAL FAULT ALARM | RIMSEAL FAULT ALARM Normal Value
1999 | Dharmapuri | TK-01 | AG | BS VI MS | SAFETY_PLC.SCS0101.LSHHH0101 | 1 | SAFETY_PLC.SCS0101.LAHHH0102 | 1 | SAFETY_PLC.SCS0101.RSV0102_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0101_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0102_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0101_ZSL | 0 | PROCESS_PLC.MOV.MS_TK_1.INLET.MOV_0104_STS | 3 | PROCESS_PLC.MOV.MS_TK_1.OUTLET.MOV_102_STS | 3 | SAFETY_PLC.SCS0101.TK1_RS_FIRE | 0 | SAFETY_PLC.SCS0101.TK1_RS_FAULT | 0
1999 | Dharmapuri | TK-02 | AG | BS VI MS | SAFETY_PLC.SCS0101.LSHHH0102 | 1 | SAFETY_PLC.SCS0101.LAHHH0104 | 1 | SAFETY_PLC.SCS0101.RSV0104_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0103_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0104_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0103_ZSL | 0 | PROCESS_PLC.MOV.MS_TK_2.INLET.MOV_0108_STS | 3 | PROCESS_PLC.MOV.MS_TK_2.OUTLET.MOV_0106_STS | 3 | SAFETY_PLC.SCS0101.TK2_RS_FIRE | 0 | SAFETY_PLC.SCS0101.TK2_RS_FAULT | 0
1999 | Dharmapuri | TK-03 | AG | BS VI MS | SAFETY_PLC.SCS0101.LSHHH0103 | 1 | SAFETY_PLC.SCS0101.LAHHH0106 | 1 | SAFETY_PLC.SCS0101.RSV0106_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0105_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0106_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0105_ZSL | 0 | PROCESS_PLC.MOV.MS_TK_3.IL.MOV_0112_STS | 3 | PROCESS_PLC.MOV.MS_TK_3.OL.MOV_0110_STS | 3 | SAFETY_PLC.SCS0101.TK3_RS_FIRE | 0 | SAFETY_PLC.SCS0101.TK3_RS_FAULT | 0
1999 | Dharmapuri | TK-04 | AG | BS VI MS | SAFETY_PLC.SCS0101.LSHHH0104 | 1 | SAFETY_PLC.SCS0101.LAHHH0108 | 1 | SAFETY_PLC.SCS0101.RSV0108_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0107_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0108_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0107_ZSL | 0 | PROCESS_PLC.MOV.MS_TK_4.IL.MOV_0116_STS | 3 | PROCESS_PLC.MOV.MS_TK_4.OL.MOV_0114_STS | 3 | SAFETY_PLC.SCS0101.TK4_RS_FIRE | 0 | SAFETY_PLC.SCS0101.TK4_RS_FAULT | 0
1999 | Dharmapuri | TK-05 | AG | BS VI HSD | SAFETY_PLC.SCS0101.LSHHH0201 | 1 | SAFETY_PLC.SCS0101.LAHHH0202 | 1 | SAFETY_PLC.SCS0101.RSV0202_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0201_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0202_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0201_ZSL | 0 | PROCESS_PLC.MOV.HSD_TK_5.IL.MOV_0204_STS | 3 | PROCESS_PLC.MOV.HSD_TK_5.OL.MOV_0202_STS | 3
1999 | Dharmapuri | TK-06 | AG | BS VI HSD | SAFETY_PLC.SCS0101.LSHHH0202 | 1 | SAFETY_PLC.SCS0101.LAHHH0204 | 1 | SAFETY_PLC.SCS0101.RSV0203_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0204_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0203_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0204_ZSL | 0 | PROCESS_PLC.MOV.HSD_TK_6.IL.MOV_0208_STS | 3 | PROCESS_PLC.MOV.HSD_TK_6.OL.MOV_0206_STS | 3
1999 | Dharmapuri | TK-07 | AG | BS VI HSD | SAFETY_PLC.SCS0101.LSHHH0203 | 1 | SAFETY_PLC.SCS0101.LAHHH0206 | 1 | SAFETY_PLC.SCS0101.RSV0206_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0205_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0206_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0205_ZSL | 0 | PROCESS_PLC.MOV.HSD_TK_7.IL.MOV_0212_STS | 3 | PROCESS_PLC.MOV.HSD_TK_7.OL.MOV_0210_STS | 3
1999 | Dharmapuri | TK-08 | AG | BS VI HSD | SAFETY_PLC.SCS0101.LSHHH0204 | 1 | SAFETY_PLC.SCS0101.LAHHH0208 | 1 | SAFETY_PLC.SCS0101.RSV0208_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0207_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0208_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0207_ZSL | 0 | PROCESS_PLC.MOV.HSD_TK_8.IL.MOV_0216_STS | 3 | PROCESS_PLC.MOV.HSD_TK_8.OL.MOV_0214_STS | 3
1999 | Dharmapuri | TK-09 | AG | MTO | SAFETY_PLC.SCS0101.LSHHH0301 | 1 | SAFETY_PLC.SCS0101.LAHHH0302 | 1 | SAFETY_PLC.SCS0101.RSV0302_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0301_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0302_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0301_ZSL | 0 | PROCESS_PLC.MOV.SKO_TK_9.IL.MOV_0304_STS | 3 | PROCESS_PLC.MOV.SKO_TK_9.OL.MOV_0302_STS | 3
1999 | Dharmapuri | TK-10 | AG | MTO | SAFETY_PLC.SCS0101.LSHHH0302 | 1 | SAFETY_PLC.SCS0101.LAHHH0304 | 1 | SAFETY_PLC.SCS0101.RSV0304_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0303_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0304_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0303_ZSL | 0 | PROCESS_PLC.MOV.SKO_TK_10.IL.MOV_0308_STS | 3 | PROCESS_PLC.MOV.SKO_TK_10.OL.MOV_0306_STS | 3
1999 | Dharmapuri | TK-11 | AG | SKO | SAFETY_PLC.SCS0101.LSHHH0303 | 1 | SAFETY_PLC.SCS0101.LAHHH0306 | 1 | SAFETY_PLC.SCS0101.RSV0306_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0305_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0306_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0305_ZSL | 0 | PROCESS_PLC.MOV.SKO_TK_11.IL.MOV_0312_STS | 3 | PROCESS_PLC.MOV.SKO_TK_11.OL.MOV_0310_STS | 3
1999 | Dharmapuri | TK-12 | AG | MTO | SAFETY_PLC.SCS0101.LSHHH0304 | 1 | SAFETY_PLC.SCS0101.LAHHH0308 | 1 | SAFETY_PLC.SCS0101.RSV0308_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0307_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0308_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0307_ZSL | 0 | PROCESS_PLC.MOV.SKO_TK_12.IL.MOV_0316_STS | 3 | PROCESS_PLC.MOV.SKO_TK_12.OL.MOV_0314_STS | 3
1999 | Dharmapuri | TK-13 | AG | INTERFACE | SAFETY_PLC.SCS0101.LSHHH0401 | 1 | SAFETY_PLC.SCS0101.LAHHH0402 | 1 | SAFETY_PLC.SCS0101.RSV0402_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0401_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0402_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0401_ZSL | 0 | PROCESS_PLC.MOV.INTF_A_TK_13.IL.MOV_0403_STS | 3 | PROCESS_PLC.MOV.INTF_A_TK_13.OL.MOV_0402_STS | 3
1999 | Dharmapuri | TK-14 | AG | INTERFACE | SAFETY_PLC.SCS0101.LSHHH0402 | 1 | SAFETY_PLC.SCS0101.LAHHH0404 | 1 | SAFETY_PLC.SCS0101.RSV0404_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0403_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0404_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0403_ZSL | 0 | PROCESS_PLC.MOV.INTF_B_TK_14.IL.MOV_0406_STS | 3 | PROCESS_PLC.MOV.INTF_B_TK_14.OL.MOV_0405_STS | 3
1999 | Dharmapuri | TK-15 | AG | SLOP | SAFETY_PLC.SCS0101.LSHHH0501 | 1 | SAFETY_PLC.SCS0101.LAHHH0502 | 1 |  | 1 | SAFETY_PLC.SCS0101.RSV0501_ZSH | 0 |  |  | SAFETY_PLC.SCS0101.RSV0501_ZSL | 0 | PROCESS_PLC.MOV.SLOP_A_TK_15.IL.MOV_0503_STS | 3 | PROCESS_PLC.MOV.SLOP_A_TK_15.OL.MOV_0502_STS | 3
1999 | Dharmapuri | TK-16 | AG | SLOP | SAFETY_PLC.SCS0101.LSHHH0502 | 1 | SAFETY_PLC.SCS0101.LAHHH0504 | 1 |  | 1 | SAFETY_PLC.SCS0101.RSV0503_ZSH | 0 |  |  | SAFETY_PLC.SCS0101.RSV0503_ZSL | 0 | PROCESS_PLC.MOV.SLOP_B_TK_16.IL.MOV_0506_STS | 3 | PROCESS_PLC.MOV.SLOP_B_TK_16.OL.MOV_0505_STS | 3
1999 | Dharmapuri | TK-17 | AG | ETHANOL | SAFETY_PLC.SCS0101.LSHHH0601 | 1 | SAFETY_PLC.SCS0101.LAHHH0602 | 1 | SAFETY_PLC.SCS0101.RSV0602_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0601_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0602_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0601_ZSL | 0 | PROCESS_PLC.MOV.ETH_TK_17.IL.MOV_0602_STS | 3 | PROCESS_PLC.MOV.ETH_TK_17.OL.MOV_0601_STS | 3
1999 | Dharmapuri | TK-18 | AG | ETHANOL | SAFETY_PLC.SCS0101.LSHHH0602 | 1 | SAFETY_PLC.SCS0101.LAHHH0604 | 1 | SAFETY_PLC.SCS0101.RSV0604_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0603_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0604_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0603_ZSL | 0 | PROCESS_PLC.MOV.ETH_TK_18.IL.MOV_0604_STS | 3 | PROCESS_PLC.MOV.ETH_TK_18.OL.MOV_0603_STS | 3
1999 | Dharmapuri | TK-19 | AG | BIO HSD | SAFETY_PLC.SCS0101.LSHHH0701 | 1 | SAFETY_PLC.SCS0101.LAHHH0702 | 1 | SAFETY_PLC.SCS0101.RSV0702_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0701_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0702_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0701_ZSL | 0 | PROCESS_PLC.MOV.BD_TK_19.IL.MOV_0702_STS | 3 | PROCESS_PLC.MOV.BD_TK_19.OL.MOV_0701_STS | 3
1999 | Dharmapuri | TK-20 | AG | BIO HSD | SAFETY_PLC.SCS0101.LSHHH0702 | 1 | SAFETY_PLC.SCS0101.LAHHH0704 | 1 | SAFETY_PLC.SCS0101.RSV0704_ZSH | 1 | SAFETY_PLC.SCS0101.RSV0703_ZSH | 0 | SAFETY_PLC.SCS0101.RSV0704_ZSL | 0 | SAFETY_PLC.SCS0101.RSV0703_ZSL | 0 | PROCESS_PLC.MOV.BD_TK_20.IL.MOV_0704_STS | 3 | PROCESS_PLC.MOV.BD_TK_20.OL.MOV_0703_STS | 3

## Pump Master
SAPID | Location | Pump ID | Fuel Type | Pump Type | Pump Direction(Reciept/Dispatch) | PUMP ON STATUS | Normal Value | PUMP OFF STATUS | Normal Value | PUMP L/R STATUS | Normal Value | PUMP L/R STATUS | Normal Value | FIRE PUMP MAINTENANCE STATUS | Normal Value
11128 | Mathura | PMP-01 | TURBO | TLF | DISPATCH | PUMP.PMP-01.ON | 1 | PUMP.PMP-01.OFF | 0 | PUMP.PMP-01.LOCAL_STATUS | 0 | PUMP.PMP-01.REMOTE_STATUS | 1
11128 | Mathura | PMP-02 | TURBO | TLF | DISPATCH | PUMP.PMP-02.ON | 1 | PUMP.PMP-02.OFF | 0 | PUMP.PMP-02.LOCAL_STATUS | 0 | PUMP.PMP-02.REMOTE_STATUS | 1
11128 | Mathura | PMP-03 | POWER | TLF | DISPATCH | PUMP.PMP-03.ON | 1 | PUMP.PMP-03.OFF | 0 | PUMP.PMP-03.LOCAL_STATUS | 0 | PUMP.PMP-03.REMOTE_STATUS | 1
11128 | Mathura | PMP-04 | POWER | TLF | DISPATCH | PUMP.PMP-04.ON | 1 | PUMP.PMP-04.OFF | 0 | PUMP.PMP-04.LOCAL_STATUS | 0 | PUMP.PMP-04.REMOTE_STATUS | 1
11128 | Mathura | PMP-05 | ETHANOL | TLF | DISPATCH | PUMP.PMP-05.ON | 1 | PUMP.PMP-05.OFF | 0 | PUMP.PMP-05.LOCAL_STATUS | 0 | PUMP.PMP-05.REMOTE_STATUS | 1
11128 | Mathura | PMP-06 | ETHANOL | TLF | DISPATCH | PUMP.PMP-06.ON | 1 | PUMP.PMP-06.OFF | 0 | PUMP.PMP-06.LOCAL_STATUS | 0 | PUMP.PMP-06.REMOTE_STATUS | 1
11128 | Mathura | PMP-07 | ETHANOL | TLF | DISPATCH | PUMP.PMP-07.ON | 1 | PUMP.PMP-07.OFF | 0 | PUMP.PMP-07.LOCAL_STATUS | 0 | PUMP.PMP-07.REMOTE_STATUS | 1
11128 | Mathura | PMP-08 | ETHANOL | TLF | DISPATCH | PUMP.PMP-08.ON | 1 | PUMP.PMP-08.OFF | 0 | PUMP.PMP-08.LOCAL_STATUS | 0 | PUMP.PMP-08.REMOTE_STATUS | 1
11128 | Mathura | PMP-09 | ETHANOL | TLF | DISPATCH | PUMP.PMP-09.ON | 1 | PUMP.PMP-09.OFF | 0 | PUMP.PMP-09.LOCAL_STATUS | 0 | PUMP.PMP-09.REMOTE_STATUS | 1
11128 | Mathura | PMP-13 | SKO | TLF | DISPATCH | PUMP.PMP-13.ON | 1 | PUMP.PMP-13.OFF | 0 | PUMP.PMP-13.LOCAL_STATUS | 0 | PUMP.PMP-13.REMOTE_STATUS | 1
11128 | Mathura | PMP-14 | SKO | TLF | DISPATCH | PUMP.PMP-14.ON | 1 | PUMP.PMP-14.OFF | 0 | PUMP.PMP-14.LOCAL_STATUS | 0 | PUMP.PMP-14.REMOTE_STATUS | 1
11128 | Mathura | PMP-15 | SKO | TLF | DISPATCH | PUMP.PMP-15.ON | 1 | PUMP.PMP-15.OFF | 0 | PUMP.PMP-15.LOCAL_STATUS | 0 | PUMP.PMP-15.REMOTE_STATUS | 1
11128 | Mathura | PMP-16 | FO | TLF | DISPATCH | PUMP.PMP-16.ON | 1 | PUMP.PMP-16.OFF | 0 | PUMP.PMP-16.LOCAL_STATUS | 0 | PUMP.PMP-16.REMOTE_STATUS | 1
11128 | Mathura | PMP-17 | FO | TLF | DISPATCH | PUMP.PMP-17.ON | 1 | PUMP.PMP-17.OFF | 0 | PUMP.PMP-17.LOCAL_STATUS | 0 | PUMP.PMP-17.REMOTE_STATUS | 1
11128 | Mathura | PMP-18 | BLUE DYE | TLF | DISPATCH | PUMP.PMP-18.ON | 1 | PUMP.PMP-18.OFF | 0 | PUMP.PMP-18.LOCAL_STATUS | 0 | PUMP.PMP-18.REMOTE_STATUS | 1
11128 | Mathura | PMP-19 | BLUE DYE | TLF | DISPATCH | PUMP.PMP-19.ON | 1 | PUMP.PMP-19.OFF | 0 | PUMP.PMP-19.LOCAL_STATUS | 0 | PUMP.PMP-19.REMOTE_STATUS | 1
11128 | Mathura | PMP-20 | LDO | TLF | DISPATCH | PUMP.PMP-20.ON | 1 | PUMP.PMP-20.OFF | 0 | PUMP.PMP-20.LOCAL_STATUS | 0 | PUMP.PMP-20.REMOTE_STATUS | 1
11128 | Mathura | PMP-21 | LDO | TLF | DISPATCH | PUMP.PMP-21.ON | 1 | PUMP.PMP-21.OFF | 0 | PUMP.PMP-21.LOCAL_STATUS | 0 | PUMP.PMP-21.REMOTE_STATUS | 1
11128 | Mathura | PMP-22 | LDO | TLF | DISPATCH | PUMP.PMP-22.ON | 1 | PUMP.PMP-22.OFF | 0 | PUMP.PMP-22.LOCAL_STATUS | 0 | PUMP.PMP-22.REMOTE_STATUS | 1
11128 | Mathura | PMP-23 | BS VI HSD | TLF | DISPATCH | PUMP.PMP-23.ON | 1 | PUMP.PMP-23.OFF | 0 | PUMP.PMP-23.LOCAL_STATUS | 0 | PUMP.PMP-23.REMOTE_STATUS | 1
11128 | Mathura | PMP-24 | BS VI HSD | TLF | DISPATCH | PUMP.PMP-24.ON | 1 | PUMP.PMP-24.OFF | 0 | PUMP.PMP-24.LOCAL_STATUS | 0 | PUMP.PMP-24.REMOTE_STATUS | 1
11128 | Mathura | PMP-25 | BS VI HSD | TLF | DISPATCH | PUMP.PMP-25.ON | 1 | PUMP.PMP-25.OFF | 0 | PUMP.PMP-25.LOCAL_STATUS | 0 | PUMP.PMP-25.REMOTE_STATUS | 1
11128 | Mathura | PMP-26 | BS VI HSD | TLF | DISPATCH | PUMP.PMP-26.ON | 1 | PUMP.PMP-26.OFF | 0 | PUMP.PMP-26.LOCAL_STATUS | 0 | PUMP.PMP-26.REMOTE_STATUS | 1
11128 | Mathura | PMP-27 | BS VI HSD | TLF | DISPATCH | PUMP.PMP-27.ON | 1 | PUMP.PMP-27.OFF | 0 | PUMP.PMP-27.LOCAL_STATUS | 0 | PUMP.PMP-27.REMOTE_STATUS | 1
11128 | Mathura | PMP-28 | BS VI MS | TLF | DISPATCH | PUMP.PMP-28.ON | 1 | PUMP.PMP-28.OFF | 0 | PUMP.PMP-28.LOCAL_STATUS | 0 | PUMP.PMP-28.REMOTE_STATUS | 1
11128 | Mathura | PMP-29 | BS VI MS | TLF | DISPATCH | PUMP.PMP-29.ON | 1 | PUMP.PMP-29.OFF | 0 | PUMP.PMP-29.LOCAL_STATUS | 0 | PUMP.PMP-29.REMOTE_STATUS | 1
11128 | Mathura | PMP-30 | BS VI MS | TLF | DISPATCH | PUMP.PMP-30.ON | 1 | PUMP.PMP-30.OFF | 0 | PUMP.PMP-30.LOCAL_STATUS | 0 | PUMP.PMP-30.REMOTE_STATUS | 1
11128 | Mathura | PMP-31 | BS VI MS | TLF | DISPATCH | PUMP.PMP-31.ON | 1 | PUMP.PMP-31.OFF | 0 | PUMP.PMP-31.LOCAL_STATUS | 0 | PUMP.PMP-31.REMOTE_STATUS | 1
11128 | Mathura | PMP-32 | BS VI MS | TLF | DISPATCH | PUMP.PMP-32.ON | 1 | PUMP.PMP-32.OFF | 0 | PUMP.PMP-32.LOCAL_STATUS | 0 | PUMP.PMP-32.REMOTE_STATUS | 1
11128 | Mathura | TWP-01 | BS VI MS | TWD | RECEIPT | PUMP.TWP-01.ON | 1 | PUMP.TWP-01.OFF | 0 | PUMP.TWP-01.LOCAL_STATUS | 0 | PUMP.TWP-01.REMOTE_STATUS | 1
11128 | Mathura | TWP-02 | BS VI MS | TWD | RECEIPT | PUMP.TWP-02.ON | 1 | PUMP.TWP-02.OFF | 0 | PUMP.TWP-02.LOCAL_STATUS | 0 | PUMP.TWP-02.REMOTE_STATUS | 1
11128 | Mathura | TWP-03 | BS VI MS | TWD | RECEIPT | PUMP.TWP-03.ON | 1 | PUMP.TWP-03.OFF | 0 | PUMP.TWP-03.LOCAL_STATUS | 0 | PUMP.TWP-03.REMOTE_STATUS | 1
11128 | Mathura | TWP-04 | BS VI MS | TWD | RECEIPT | PUMP.TWP-04.ON | 1 | PUMP.TWP-04.OFF | 0 | PUMP.TWP-04.LOCAL_STATUS | 0 | PUMP.TWP-04.REMOTE_STATUS | 1
11128 | Mathura | TWP-05 | BS VI HSD | TWD | RECEIPT | PUMP.TWP-05.ON | 1 | PUMP.TWP-05.OFF | 0 | PUMP.TWP-05.LOCAL_STATUS | 0 | PUMP.TWP-05.REMOTE_STATUS | 1
11128 | Mathura | TWP-06 | BS VI HSD | TWD | RECEIPT | PUMP.TWP-06.ON | 1 | PUMP.TWP-06.OFF | 0 | PUMP.TWP-06.LOCAL_STATUS | 0 | PUMP.TWP-06.REMOTE_STATUS | 1
11128 | Mathura | TWP-07 | BS VI HSD | TWD | RECEIPT | PUMP.TWP-07.ON | 1 | PUMP.TWP-07.OFF | 0 | PUMP.TWP-07.LOCAL_STATUS | 0 | PUMP.TWP-07.REMOTE_STATUS | 1
11128 | Mathura | TWP-08 | BS VI HSD | TWD | RECEIPT | PUMP.TWP-08.ON | 1 | PUMP.TWP-08.OFF | 0 | PUMP.TWP-08.LOCAL_STATUS | 0 | PUMP.TWP-08.REMOTE_STATUS | 1
11128 | Mathura | TWP-09 | SKO | TWD | RECEIPT | PUMP.TWP-09.ON | 1 | PUMP.TWP-09.OFF | 0 | PUMP.TWP-09.LOCAL_STATUS | 0 | PUMP.TWP-09.REMOTE_STATUS | 1
11128 | Mathura | TWP-10 | SKO | TWD | RECEIPT | PUMP.TWP-10.ON | 1 | PUMP.TWP-10.OFF | 0 | PUMP.TWP-10.LOCAL_STATUS | 0 | PUMP.TWP-10.REMOTE_STATUS | 1
11128 | Mathura | TWP-11 | FO | TWD | RECEIPT | PUMP.TWP-11.ON | 1 | PUMP.TWP-11.OFF | 0 | PUMP.TWP-11.LOCAL_STATUS | 0 | PUMP.TWP-11.REMOTE_STATUS | 1
11128 | Mathura | TWP-12 | FO | TWD | RECEIPT | PUMP.TWP-12.ON | 1 | PUMP.TWP-12.OFF | 0 | PUMP.TWP-12.LOCAL_STATUS | 0 | PUMP.TWP-12.REMOTE_STATUS | 1
11128 | Mathura | TWP-13 | FO | TWD | RECEIPT | PUMP.TWP-13.ON | 1 | PUMP.TWP-13.OFF | 0 | PUMP.TWP-13.LOCAL_STATUS | 0 | PUMP.TWP-13.REMOTE_STATUS | 1
11128 | Mathura | TWP-14 | FO | TWD | RECEIPT | PUMP.TWP-14.ON | 1 | PUMP.TWP-14.OFF | 0 | PUMP.TWP-14.LOCAL_STATUS | 0 | PUMP.TWP-14.REMOTE_STATUS | 1
11128 | Mathura | TWP-15 | LDO | TWD | RECEIPT | PUMP.TWP-15.ON | 1 | PUMP.TWP-15.OFF | 0 | PUMP.TWP-15.LOCAL_STATUS | 0 | PUMP.TWP-15.REMOTE_STATUS | 1
11128 | Mathura | TWP-16 | LDO | TWD | RECEIPT | PUMP.TWP-16.ON | 1 | PUMP.TWP-16.OFF | 0 | PUMP.TWP-16.LOCAL_STATUS | 0 | PUMP.TWP-16.REMOTE_STATUS | 1
11128 | Mathura | VRU-PMP-01 | BS VI HSD | VRU | - | PUMP.VRU-PMP-01.ON | 1 | PUMP.VRU-PMP-01.OFF | 0 | PUMP.VRU-PMP-01.LOCAL_STATUS | 0 | PUMP.VRU-PMP-01.REMOTE_STATUS | 1
11128 | Mathura | FWP-01 | WATER | PH | DISPATCH | PUMP.FWP-01.ON | 1 | PUMP.FWP-01.OFF | 0 | PUMP.FWP-01.LOCAL_STATUS | 0 | PUMP.FWP-01.REMOTE_STATUS | 1 | PUMP.FWP-01.MAINTENANCE_STATUS | 1
11128 | Mathura | FWP-02 | WATER | PH | DISPATCH | PUMP.FWP-02.ON | 1 | PUMP.FWP-02.OFF | 0 | PUMP.FWP-02.LOCAL_STATUS | 0 | PUMP.FWP-02.REMOTE_STATUS | 1 | PUMP.FWP-02.MAINTENANCE_STATUS | 1
11128 | Mathura | FWP-03 | WATER | PH | DISPATCH | PUMP.FWP-03.ON | 1 | PUMP.FWP-03.OFF | 0 | PUMP.FWP-03.LOCAL_STATUS | 0 | PUMP.FWP-03.REMOTE_STATUS | 1 | PUMP.FWP-03.MAINTENANCE_STATUS | 1
11128 | Mathura | FWP-04 | WATER | PH | DISPATCH | PUMP.FWP-04.ON | 1 | PUMP.FWP-04.OFF | 0 | PUMP.FWP-04.LOCAL_STATUS | 0 | PUMP.FWP-04.REMOTE_STATUS | 1 | PUMP.FWP-04.MAINTENANCE_STATUS | 1
11128 | Mathura | FWP-05 | WATER | PH | DISPATCH | PUMP.FWP-05.ON | 1 | PUMP.FWP-05.OFF | 0 | PUMP.FWP-05.LOCAL_STATUS | 0 | PUMP.FWP-05.REMOTE_STATUS | 1 | PUMP.FWP-05.MAINTENANCE_STATUS | 1
11128 | Mathura | JCY-01 | WATER | PH | DISPATCH | PUMP.JCY-01.ON | 1 | PUMP.JCY-01.OFF | 0 | PUMP.JCY-01.LOCAL_STATUS | 0 | PUMP.JCY-01.REMOTE_STATUS | 1 | PUMP.JCY-01.MAINTENANCE_STATUS | 1
11128 | Mathura | JCY-02 | WATER | PH | DISPATCH | PUMP.JCY-02.ON | 1 | PUMP.JCY-02.OFF | 0 | PUMP.JCY-02.LOCAL_STATUS | 0 | PUMP.JCY-02.REMOTE_STATUS | 1 | PUMP.JCY-02.MAINTENANCE_STATUS | 1

## UPS Master
SAPID | Location | UPS Name | Location | UPS FAIL | Normal Value | LOW BATTERY | Normal Value | UPS ON | Normal Value | UPS MAIN AC FAIL | Normal Value
11128 | Mathura | UPS-01 | CR - Process | UPS.UPS-01.UPS_FAIL | FALSE
11128 | Mathura | UPS-02 | CR - Process | UPS.UPS-02.UPS_FAIL | FALSE
11128 | Mathura | UPS-03 | CR - Safety |  |  | UPS.UPS-03.LOW_BATTERY | FALSE | UPS.UPS-03.UPS_ON | FALSE | UPS.UPS-03.MAIN_AC_FAIL | FALSE
11128 | Mathura | UPS-04 | CR - Safety |  |  | UPS.UPS-04.LOW_BATTERY | FALSE | UPS.UPS-04.UPS_ON | FALSE | UPS.UPS-04.MAIN_AC_FAIL | FALSE

## PLC Master
SAPID | Location | PLC Name | Location | CPU A Fail | Normal Value | CPU B Fail | Normal Value | LAN A FAIL PLCA | Normal Value | LAN B FAIL PLCA | Normal Value | LAN A FAIL PLCB | Normal Value | LAN B FAIL PLCB | Normal Value | PLC A IS MASTER | Normal Value | PLC B IS MASTER | Normal Value | PLC A FAIL SAFE STATUS | Normal Value | PLC B FAIL SAFE STATUS | Normal Value | PLC A COOMUNCIATION STATUS | Normal Value | PLC B COOMUNCIATION STATUS | Normal Value
11128 | Mathura | GEPLC | Process PLC | PLC.GEPLC.CPU_FAIL_PLCA | FALSE | PLC.GEPLC.CPU_FAIL_PLCB | FALSE | PLC.GEPLC.PLCA_LANFAILURE_LANA | FALSE | PLC.GEPLC.PLCA_LANFAILURE_LANB | FALSE | PLC.GEPLC.PLCB_LANFAILURE_LANA | FALSE | PLC.GEPLC.PLCB_LANFAILURE_LANB | FALSE | PLC.TASPLC.PLCA_IS_MASTER | TRUE | PLC.TASPLC.PLCB_IS_MASTER | TRUE | - | - | - | - | - | - | - | -
11128 | Mathura | SFT PLC | Safety PLC | - | - | - | - | - | - | - | - | - | - | - | - | PLC.SFTPLC.PLCA_IS_MASTER | TRUE | PLC.SFTPLC.PLCB_IS_MASTER | TRUE | PLC.SFTPLC.PLCA_FAIL_SAFE_STATUS | FALSE | PLC.SFTPLC.PLCB_FAIL_SAFE_STATUS | FALSE | PLC.SFTPLC.PLCA_COMM_OK | FALSE | PLC.SFTPLC.PLCB_COMM_OK | FALSE

## HCD Master
SAPID | Location | HCD Name | Type | Location | HCD 40 % ALARM | HCD 40 % ALARM Normal Value | HCD 20 % ALARM | HCD 20 % ALARM Normal value
1999 | Dharmapuri | HCD-01 | OPEN TYPE | INSIDE DYKE 01 TK01-TK03 | SAFETY_PLC.SCS0101.OPN_HCD01_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD01_H | TRUE
1999 | Dharmapuri | HCD-02 | OPEN TYPE | OUTSIDE DYKE 01 TK01-TK03 | SAFETY_PLC.SCS0101.OPN_HCD02_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD02_H | TRUE
1999 | Dharmapuri | HCD-03 | OPEN TYPE | INSIDE DYKE 01 TK02-TK04 | SAFETY_PLC.SCS0101.OPN_HCD03_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD03_H | TRUE
1999 | Dharmapuri | HCD-04 | OPEN TYPE | OUTSIDE DYKE 01 TK02-TK04 | SAFETY_PLC.SCS0101.OPN_HCD04_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD04_H | TRUE
1999 | Dharmapuri | HCD-05 | OPEN TYPE | INSIDE DYKE 04 TK17-TK18 | SAFETY_PLC.SCS0101.OPN_HCD05_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD05_H | TRUE
1999 | Dharmapuri | HCD-06 | OPEN TYPE | OUTSIDE DYKE 04 TK17-TK18 | SAFETY_PLC.SCS0101.OPN_HCD06_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD06_H | TRUE
1999 | Dharmapuri | HCD-07 | OPEN TYPE | INSIDE DYKE 05 TK13-TK16 | SAFETY_PLC.SCS0101.OPN_HCD07_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD07_H | TRUE
1999 | Dharmapuri | HCD-08 | OPEN TYPE | OUTSIDE DYKE 05 TK13-TK16 | SAFETY_PLC.SCS0101.OPN_HCD08_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD08_H | TRUE
1999 | Dharmapuri | HCD-09 | OPEN TYPE | TTL PUMP HOUSE | SAFETY_PLC.SCS0101.OPN_HCD09_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD09_H | TRUE
1999 | Dharmapuri | HCD-10 | OPEN TYPE | TWL PUMP HOUSE | SAFETY_PLC.SCS0101.OPN_HCD10_HH | TRUE | SAFETY_PLC.SCS0101.OPN_HCD10_H | TRUE
1999 | Dharmapuri | HCD-11 | POINT TYPE | DYKE 01 TK01-TK03 | SAFETY_PLC.SCS0101.PT_HCD01_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD01_H | TRUE
1999 | Dharmapuri | HCD-12 | POINT TYPE | DYKE 01 TK02-TK04 | SAFETY_PLC.SCS0101.PT_HCD02_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD02_H | TRUE
1999 | Dharmapuri | HCD-13 | POINT TYPE | DYKE 04 TK17-TK18 | SAFETY_PLC.SCS0101.PT_HCD03_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD03_H | TRUE
1999 | Dharmapuri | HCD-14 | POINT TYPE | DYKE 05 TK15-TK16 | SAFETY_PLC.SCS0101.PT_HCD04_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD04_H | TRUE
1999 | Dharmapuri | HCD-15 | POINT TYPE | DYKE 05 TK13-TK14 | SAFETY_PLC.SCS0101.PT_HCD05_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD05_H | TRUE
1999 | Dharmapuri | HCD-16 | POINT TYPE | TTL PUMP HOUSE | SAFETY_PLC.SCS0101.PT_HCD06_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD06_H | TRUE
1999 | Dharmapuri | HCD-17 | POINT TYPE | TWL PUMP HOUSE | SAFETY_PLC.SCS0101.PT_HCD07_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD07_H | TRUE
1999 | Dharmapuri | HCD-18 | POINT TYPE | UG DYKE INSIDE | SAFETY_PLC.SCS0101.PT_HCD08_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD08_H | TRUE
1999 | Dharmapuri | HCD-19 | POINT TYPE | OWS DYKE UG OUTSIDE DYKE | SAFETY_PLC.SCS0101.PT_HCD09_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD09_H | TRUE
1999 | Dharmapuri | HCD-20 | POINT TYPE | OWS PLANT | SAFETY_PLC.SCS0101.PT_HCD10_HH | TRUE | SAFETY_PLC.SCS0101.PT_HCD10_H | TRUE

## Dyke Master
SAPID | Location | Dyke Valve | DYKE VALVE STATUS | DYKE VALVE STATUS Normal value
11128 | Mathura | DV-01 | DRAINVALVE.DV-01.DRAIN_VALVE_STATUS | FALSE
11128 | Mathura | DV-02 | DRAINVALVE.DV-02.DRAIN_VALVE_STATUS | FALSE
11128 | Mathura | DV-03 | DRAINVALVE.DV-03.DRAIN_VALVE_STATUS | FALSE
11128 | Mathura | DV-04 | DRAINVALVE.DV-04.DRAIN_VALVE_STATUS | FALSE

## Cause & Effect
SAPID | Location | C&E | Description | C & E Status | Normal Value
1999 | Dharmapuri | CAUSE | 20% LEL of Hydrocarbon Detector in tankfarm area
1999 | Dharmapuri | CAUSE | 20% LEL of Hydrocarbon Detector in Pump House area
1999 | Dharmapuri | CAUSE | Main Fire Engines are not in REMOTE | SAFETY_PLC.SCS0102.FE_RA_STS | 0
1999 | Dharmapuri | CAUSE | Two Fire Engine Running status | SAFETY_PLC.SCS0102.TWO_FE_RUN | 0
1999 | Dharmapuri | CAUSE | 40% LEL of Hydrocarbon Detector in Pump House area
1999 | Dharmapuri | CAUSE | VFT switch activation
1999 | Dharmapuri | CAUSE | Secondary Radar Guage activation
1999 | Dharmapuri | CAUSE | ESD PB Activated in Field
1999 | Dharmapuri | CAUSE | 40% LEL of Hydrocarbon Detector in tankfarm area
1999 | Dharmapuri | CAUSE | ESD activated in Pipeline Premises
1999 | Dharmapuri | CAUSE | WATER Level below Ref. Volume | SAFETY_PLC.SCS0102.WTR_TNK_VOL_LOW | 0
1999 | Dharmapuri | EFFECT | Dedicated Hooter cum strobe for HC detector activated in control room
1999 | Dharmapuri | EFFECT | Siren Activated
1999 | Dharmapuri | EFFECT | Dedicated Hooter cum strobe for ESD activated in control room
1999 | Dharmapuri | EFFECT | Barrier Gate opened
1999 | Dharmapuri | EFFECT | ESD Command To Process PLC
1999 | Dharmapuri | EFFECT | As Power ESD Activation in Main PMCC Panel after 120 Sec.
1999 | Dharmapuri | EFFECT | Dedicated Hooter cum strobe for HC detector activated in Field
1999 | Dharmapuri | EFFECT | All TLF Product Pumps Stopped
1999 | Dharmapuri | EFFECT | All Tanks in Dormant Mode
1999 | Dharmapuri | EFFECT | All ROSOVs closed
1999 | Dharmapuri | EFFECT | TLF Gantry Permissive Power Off
1999 | Dharmapuri | EFFECT | All DBBVs Closed
1999 | Dharmapuri | EFFECT | Tanks in TTL Dispatch in Dormant Mode

## Barrier Gate
SAPID | Location | Dyke Valve | BARRIER GATE OPEN STATUS | Normal value | BARRIER GATE CLOSE STATUS | Normal value | BARRIER GATE L/R STATUS | Normal value | BARRIER GATE L/R STATUS | Normal value
11128 | Mathura | EntryGate | GATE.EntryGate.OPEN_STATUS | FALSE | GATE.EntryGate.CLOSE_STATUS | FALSE | GATE.EntryGate.LOCAL_STATUS | FALSE | GATE.EntryGate.REMOTE_STATUS | TRUE
11128 | Mathura | ExitGate | GATE.ExitGate.OPEN_STATUS | FALSE | GATE.ExitGate.CLOSE_STATUS | FALSE | GATE.ExitGate.LOCAL_STATUS | FALSE | GATE.ExitGate.REMOTE_STATUS | TRUE

## Hooter Master
SAPID | Location | Hooter ID | Hooter Name | HOOTER STATUS | HOOTER STATUS Normal Value
11128 | Mathura | 1 | ANY_HOOTER_FOR_HCD_FIELD | PLC.SFTPLC.HOOTER_FIELD_1 | 0
11128 | Mathura | 2 | HOOTER_ACK | PLC.SFTPLC.HOOTER_FIELD_2 | 0
11128 | Mathura | 3 | HOOTER_ACK_STATUS | PLC.SFTPLC.HOOTER_FIELD_3 | 0
11128 | Mathura | 4 | HOOTER_FIELD_1 | PLC.SFTPLC.HOOTER_FIELD_4 | 0
11128 | Mathura | 5 | HOOTER_FIELD_2 | PLC.SFTPLC.HOOTER_FIELD_5 | 0
11128 | Mathura | 6 | HOOTER_FIELD_3 | PLC.SFTPLC.HOOTER_FIELD_6 | 0
11128 | Mathura | 7 | HOOTER_FIELD_4 | PLC.SFTPLC.HOOTER_FIELD_7 | 0
11128 | Mathura | 8 | HOOTER_FOR_ESD_CR | PLC.SFTPLC.HOOTER_FIELD_8 | 0
11128 | Mathura | 9 | HOOTER_FOR_HC_CR | PLC.SFTPLC.HOOTER_FIELD_9 | 0
11128 | Mathura | 10 | HOOTER_FOR_RIMSEAL_CR | PLC.SFTPLC.HOOTER_FIELD_10 | 0
11128 | Mathura | 11 | HOOTER_RESET | PLC.SFTPLC.HOOTER_FIELD_11 | 0
11128 | Mathura | 12 | HOOTER_RESET_STATUS | PLC.SFTPLC.HOOTER_FIELD_12 | 0
11128 | Mathura | 13 | HOOTER_STATUS | PLC.SFTPLC.HOOTER_FIELD_13 | 0

## ESD Master
SAPID | Location | ESD ID | ESD Name | Location | ESD STATUS | Normal Value | ESD MAINTENANCE STATUS | Normal Value
11128 | Mathura | ESD-01 | ESD-PB-01 | OUTSIDE S AND D BUILDING | ESD.ESD-01.ESD_STATUS | FALSE | ESD.ESD-01.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-02 | ESD-PB-02 AND 03 | OUTSIDE CONTROL ROOM and LIC ROOM | ESD.ESD-02.ESD_STATUS | FALSE | ESD.ESD-02.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-03 | ESD-PB-07 | TLF GANTRY BAY NO 12 AND 13 | ESD.ESD-03.ESD_STATUS | FALSE | ESD.ESD-03.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-04 | NOT USED6 | NOT USED6 | ESD.ESD-04.ESD_STATUS | FALSE | ESD.ESD-04.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-05 | ESD-PB-05 | MCC ROOM | ESD.ESD-05.ESD_STATUS | FALSE | ESD.ESD-05.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-06 | ESD-PB-06A | SECURITY ROOM-2 | ESD.ESD-06.ESD_STATUS | FALSE | ESD.ESD-06.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-07 | NOT USED5 | NOT USED5 | ESD.ESD-07.ESD_STATUS | FALSE | ESD.ESD-07.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-08 | ESD-PB-06 | TLF PUMP HOUSE | ESD.ESD-08.ESD_STATUS | FALSE | ESD.ESD-08.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-09 | ESD-PB-04 | TLF GANTRY BAY NO 4 AND 5 | ESD.ESD-09.ESD_STATUS | FALSE | ESD.ESD-09.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-10 | ESD-PB-08 | NEAR TANK - 01 | ESD.ESD-10.ESD_STATUS | FALSE | ESD.ESD-10.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-11 | ESD-PB-09 | FRONT OF TK-03 | ESD.ESD-11.ESD_STATUS | FALSE | ESD.ESD-11.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-12 | ESD-PB-10 | BEHIND TK-03 | ESD.ESD-12.ESD_STATUS | FALSE | ESD.ESD-12.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-13 | ESD-PB-11 | TWD PUMP HOUSE | ESD.ESD-13.ESD_STATUS | FALSE | ESD.ESD-13.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-16 | ESD-CENTRAL | CENTRAL ESD | ESD.ESD-16.ESD_STATUS | FALSE | ESD.ESD-16.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-17 | ESD-RDR | ESD DUE TO RADAR RELAY | ESD.ESD-17.ESD_STATUS | FALSE | ESD.ESD-17.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-18 | ESD-VFT | ESD DUE TO VIBRATING FORK | ESD.ESD-18.ESD_STATUS | FALSE | ESD.ESD-18.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-19 | ESD-PIPELINE | ESD FROM PIPELINE | ESD.ESD-19.ESD_STATUS | FALSE | ESD.ESD-19.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-20 | NOT USED | NOT USED | ESD.ESD-20.ESD_STATUS | FALSE | ESD.ESD-20.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-21 | NOT USED1 | NOT USED1 | ESD.ESD-21.ESD_STATUS | FALSE | ESD.ESD-21.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-22 | NOT USED2 | NOT USED2 | ESD.ESD-22.ESD_STATUS | FALSE | ESD.ESD-22.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-23 | NOT USED3 | NOT USED3 | ESD.ESD-23.ESD_STATUS | FALSE | ESD.ESD-23.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-24 | NOT USED4 | NOT USED4 | ESD.ESD-24.ESD_STATUS | FALSE | ESD.ESD-24.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-25 | ESD-PB-15 | IN FRONT OF TK-25 | ESD.ESD-25.ESD_STATUS | FALSE | ESD.ESD-25.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-26 | ESD-PB-16 | IN FRONT OF TK-24 | ESD.ESD-26.ESD_STATUS | FALSE | ESD.ESD-26.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-27 | ESD-PB-12/13 | TWD RAILWAY SIDING | ESD.ESD-27.ESD_STATUS | FALSE | ESD.ESD-27.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-28 | ESD-PB-14 | TWD RAILWAY SIDING IBP GATE | ESD.ESD-28.ESD_STATUS | FALSE | ESD.ESD-28.MAINTENANCE_STATUS | FALSE
11128 | Mathura | ESD-SOFT | ESD-SOFT | SOFT FROM OIC | ESD.ESD-SOFT.ESD_STATUS | FALSE | ESD.ESD-SOFT.MAINTENANCE_STATUS | FALSE

## Loading Point Master
SAPID | Location | Loading Point ID | Loading Point Type(TLF/TWF/TLFG/TWD) | BCU ID | Product | LP Earthing STATUS | LP Earthing STATUS Normal Value | K-FACTOR STATUS OF MAIN | K-FACTOR STATUS OF MAIN Normal value | NO FLOW STATUS | NO FLOW STATUS Normal Value | LOW FLOW STATUS OF MAIN | LOW FLOW STATUS OF MAIN Normal Value | HIGH FLOW STATUS OF MAIN | HIGH FLOW STATUS OF MAIN Normal Value | UNAUTHORISE FLOW STATUS OF MAIN | UNAUTHORISE FLOW STATUS OF MAIN Normal Value | METER OVERRUN STATUS OF MAIN | METER OVERRUN STATUS OF MAIN Normal Value | BLEND OVERDOSE STATUS OF MAIN | BLEND OVERDOSE STATUS OF MAIN Normal Value | BLEND UNDERDOSE STATUS OF MAIN | BLEND UNDERDOSE STATUS OF MAIN Normal Value | ADD OVERDOSE STATUS OF MAIN | ADD OVERDOSE STATUS OF MAIN Normal Value | ADD UNDERDOSE STATUS OF MAIN | ADD UNDERDOSE STATUS OF MAIN Normal Value
11128 | Mathura | LP 01 | TLF | BC-501A | BS VI MS | SmartLoad-Single.BC-501A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-501A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-501A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-501A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-501A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 02 | TLF | BC-501B | BS VI HSD | SmartLoad-Single.BC-501B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-501B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-501B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-501B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-501B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-501B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 03 | TLF | BC-502A | BS VI MS | SmartLoad-Single.BC-502A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-502A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-502A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-502A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-502A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 04 | TLF | BC-502B | BS VI HSD | SmartLoad-Single.BC-502B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-502B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-502B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-502B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-502B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-502B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 05 | TLF | BC-503A | BS VI MS | SmartLoad-Single.BC-503A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-503A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-503A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-503A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-503A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 06 | TLF | BC-503B | BS VI HSD | SmartLoad-Single.BC-503B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-503B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-503B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-503B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-503B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-503B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 07 | TLF | BC-504A | BS VI MS | SmartLoad-Single.BC-504A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-504A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-504A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-504A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-504A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 08 | TLF | BC-504B | BS VI HSD | SmartLoad-Single.BC-504B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-504B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-504B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-504B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-504B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-504B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 09 | TLF | BC-505A | BS VI MS | SmartLoad-Single.BC-505A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-505A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-505A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-505A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-505A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 10 | TLF | BC-505B | BS VI HSD | SmartLoad-Single.BC-505B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-505B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-505B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-505B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-505B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-505B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 11 | TLF | BC-506A | BS VI MS | SmartLoad-Single.BC-506A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-506A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-506A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-506A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-506A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 12 | TLF | BC-506B | BS VI HSD | SmartLoad-Single.BC-506B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-506B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-506B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-506B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-506B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-506B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 13 | TLF | BC-507A | BS VI MS | SmartLoad-Single.BC-507A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-507A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-507A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-507A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-507A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 14 | TLF | BC-507B | BS VI HSD | SmartLoad-Single.BC-507B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-507B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-507B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-507B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-507B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-507B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 15 | TLF | BC-508A | BS VI MS | SmartLoad-Single.BC-508A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-508A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-508A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-508A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-508A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 16 | TLF | BC-508B | BS VI HSD | SmartLoad-Single.BC-508B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-508B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-508B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-508B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-508B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-508B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 17 | TLF | BC-509A | BS VI MS | SmartLoad-Single.BC-509A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-509A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-509A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-509A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-509A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 18 | TLF | BC-509B | BS VI HSD | SmartLoad-Single.BC-509B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-509B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-509B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-509B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-509B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-509B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 19 | TLF | BC-510A | BS VI MS | SmartLoad-Single.BC-510A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-510A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-510A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-510A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-510A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 20 | TLF | BC-510B | BS VI HSD | SmartLoad-Single.BC-510B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-510B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-510B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-510B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-510B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-510B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 21 | TLF | BC-511A | BS VI HSD | SmartLoad-Single.BC-511A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-511A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-511A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-511A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-511A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 22 | TLF | BC-511B | BS VI HSD | SmartLoad-Single.BC-511B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-511B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-511B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-511B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-511B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-511B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 23 | TLF | BC-512A | LSHSP | SmartLoad-Single.BC-512A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-512A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-512A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-512A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-512A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 24 | TLF | BC-512B | SKO | SmartLoad-Single.BC-512B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-512B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-512B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-512B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-512B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-512B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 25 | TLF | BC-513A | LSHSP | SmartLoad-Single.BC-513A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-513A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-513A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-513A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-513A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 26 | TLF | BC-513B | LDO | SmartLoad-Single.BC-513B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-513B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-513B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-513B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-513B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-513B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 27 | TLF | BC-514A | LSHSP | SmartLoad-Single.BC-514A.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-514A.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514A.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514A.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514A.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514A.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514A.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514A.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-514A.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-514A.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-514A.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE
11128 | Mathura | LP 28 | TLF | BC-514B | LDO | SmartLoad-Single.BC-514B.EARTH_ALARM_STATUS | FALSE | SmartLoad-Single.BC-514B.FACTOR_STATUS_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514B.NO_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514B.LOW_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514B.HIGH_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514B.UNAUTHORIZE_FLOW_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514B.METER_OVERRUN_ENABLE_STATUS | TRUE | SmartLoad-Single.BC-514B.BLEND_OVERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-514B.BLEND_UNDERDOSE_ALARM_STATUS | TRUE | SmartLoad-Single.BC-514B.ADDITIVE_OVERDOSE_ALARM_STATUS | FALSE | SmartLoad-Single.BC-514B.ADDITIVE_UNDERDOSEDOSE_ALARM_STATUS | FALSE